## Data
Instruments Used | SCPI Version
Keysight Technologies,E36441A,CN10000023,01.00-01.01-01.01-2024100301 | 1999
Keysight Technologies,34470A,MY57702177,A.03.00-02.40-03.00-00.52-04-01 | 1994
Keysight Technologies,EL33133A,MY60260104,1.2.3-1.0.6-17-114 | 1999
Parameter | Value | Time Generated: | 2025-10-23 11:10:19
savedir | C:/Automation_Test_Program_Hornbill-1 | PSU Readback Voltage | PSU Readback Current | PSU Voltage Set | Load Current Set | DMM Voltage Measured | Programming/Voltage Absolute Error (V) | Relative/Voltage Percentage Error (%) | PSU Readback Voltage Error (V) | Programming Upper Error Boundary (V) | Programming Lower Error Boundary (V) | Programming Condition | Readback Upper Error Boundary (V) | Readback Lower Error Boundary (V) | Readback Condition
V_Rating | 32 | 1.0006 | 1.0006 | 1 | 1 | 1.0004 | 0.00039841 | 0.039841 | 0.00021559 | 0.1605 | -0.1605 | PASS | 0.1605 | -0.1605 | PASS
I_Rating | 10 | 5.999 | 1.0002 | 6 | 1 | 6.0143 | 0.01434 | 0.239 | -0.015349 | 0.163 | -0.163 | PASS | 0.163 | -0.163 | PASS
P_Rating | 160 | 10.9995 | 1.0006 | 11 | 1 | 11.0286 | 0.02857 | 0.25973 | -0.02908 | 0.1655 | -0.1655 | PASS | 0.1655 | -0.1655 | PASS
power | 160 | 15.9991 | 1.0006 | 16 | 1 | 16.0434 | 0.043365 | 0.27103 | -0.044275 | 0.168 | -0.168 | PASS | 0.168 | -0.168 | PASS
estimatetime | 0 | 20.9988 | 1.0006 | 21 | 1 | 21.0572 | 0.057208 | 0.27242 | -0.058418 | 0.1705 | -0.1705 | PASS | 0.1705 | -0.1705 | PASS
updatedelay | 1.0 | 26.0006 | 1.0006 | 26 | 1 | 26.0732 | 0.07322 | 0.28162 | -0.07261 | 0.173 | -0.173 | PASS | 0.173 | -0.173 | PASS
readbackvoltage | 0 | 31.0005 | 1.0006 | 31 | 1 | 31.0877 | 0.08765 | 0.28274 | -0.08713 | 0.1755 | -0.1755 | PASS | 0.1755 | -0.1755 | PASS
readbackcurrent | 0 | 32.0015 | 1.0006 | 32 | 1 | 32.0914 | 0.091409 | 0.28565 | -0.089879 | 0.176 | -0.176 | PASS | 0.176 | -0.176 | PASS
noofloop | 1 | 1.0016 | 5.999 | 1 | 6 | 0.9831 | -0.016901 | -1.6901 | 0.018524 | 0.1605 | -0.1605 | PASS | 0.1605 | -0.1605 | PASS
Instrument | Keysight | 5.999 | 5.9996 | 6 | 6 | 5.9968 | -0.0032339 | -0.053899 | 0.0022249 | 0.163 | -0.163 | PASS | 0.163 | -0.163 | PASS
Programming_Error_Gain | 0.0005 | 10.9995 | 5.9999 | 11 | 6 | 11.0108 | 0.010841 | 0.09855 | -0.011351 | 0.1655 | -0.1655 | PASS | 0.1655 | -0.1655 | PASS
Programming_Error_Offset | 0.005 | 16.0001 | 5.9999 | 16 | 6 | 16.0256 | 0.025576 | 0.15985 | -0.025476 | 0.168 | -0.168 | PASS | 0.168 | -0.168 | PASS
Readback_Error_Gain | 0.0005 | 20.9988 | 5.9999 | 21 | 6 | 21.0393 | 0.039324 | 0.18726 | -0.040534 | 0.1705 | -0.1705 | PASS | 0.1705 | -0.1705 | PASS
Readback_Error_Offset | 0.005 | 26.0006 | 5.9996 | 26 | 6 | 26.0553 | 0.055318 | 0.21276 | -0.054708 | 0.173 | -0.173 | PASS | 0.173 | -0.173 | PASS
unit | VOLTAGE | 1.0016 | 9.999 | 1 | 10 | 0.96849 | -0.031512 | -3.1512 | 0.033135 | 0.1605 | -0.1605 | PASS | 0.1605 | -0.1605 | PASS
minCurrent | 1 | 6 | 10 | 6 | 10 | 5.9823 | -0.01774 | -0.29567 | 0.01774 | 0.163 | -0.163 | PASS | 0.163 | -0.163 | PASS
maxCurrent | 10 | 10.9995 | 10.0003 | 11 | 10 | 10.9963 | -0.0036812 | -0.033465 | 0.0031712 | 0.1655 | -0.1655 | PASS | 0.1655 | -0.1655 | PASS
current_step_size | 5 | 15.9991 | 10.0006 | 16 | 10 | 16.0108 | 0.010759 | 0.067246 | -0.011669 | 0.168 | -0.168 | PASS | 0.168 | -0.168 | PASS
minVoltage | 1
maxVoltage | 32
voltage_step_size | 5
selected_DUT | Dolphin
PSU | USB0::0x2A8D::0xCC04::CN10000023::0::INSTR
DMM | USB0::0x2A8D::0x0201::MY57702177::0::INSTR
ELoad | USB0::0x2A8D::0x3702::MY60260104::0::INSTR
ELoad_Channel | 1
PSU_Channel | 2
VoltageSense | EXT
VoltageRes | SLOW
setFunction | Current
OperationMode | Independent
Range | Auto
Aperture | 10
AutoZero | ON
InputZ | ON
UpTime | 50
DownTime | 50