## Data
Instruments Used: | SCPI Version
Keysight Technologies,E36441A,MY00000037,01.00-01.02-01.02-2024111501 | 1999
Keysight Technologies,34461A,MY53204794,A.02.11-02.40-02.11-00.49-01-01 | 1994
Keysight Technologies,EL33133A,MY60260104,1.2.3-1.0.6-17-114 | 1999
Parameter | Value | Time Generated: | 2025-08-22 10:46:36
savedir | C:/Python_Test_Automation | PSU Readback Voltage | PSU Readback Current | PSU Voltage Set | Load Current Set | DMM Voltage Measured | Programming/Voltage Absolute Error (V) | Relative/Voltage Percentage Error (%) | PSU Readback Voltage Error (V) | Programming Upper Error Boundary (V) | Programming Lower Error Boundary (V) | Programming Condition | Readback Upper Error Boundary (V) | Readback Lower Error Boundary (V) | Readback Condition
V_Rating | 32 | 1.0038 | 1.0084 | 1 | 1 | 1.0033 | 0.0032594 | 0.32594 | 0.00058162 | 0.1605 | -0.1605 | PASS | 0.1605 | -0.1605 | PASS
I_Rating | 10
P_Rating | 160
power | 160
estimatetime | 0
updatedelay | 3.0
readbackvoltage | 0
readbackcurrent | 0
noofloop | 1
Instrument | Keysight
Programming_Error_Gain | 0.0005
Programming_Error_Offset | 0.005
Readback_Error_Gain | 0.0005
Readback_Error_Offset | 0.005
unit | VOLTAGE
minCurrent | 1
maxCurrent | 1
current_step_size | 1
minVoltage | 1
maxVoltage | 1
voltage_step_size | 1
selected_DUT | Dolphin
PSU | USB0::0x2A8D::0xCC04::MY00000037::0::INSTR
DMM | USB0::0x2A8D::0x1301::MY53204794::0::INSTR
ELoad | USB0::0x2A8D::0x3702::MY60260104::0::INSTR
ELoad_Channel | 1
PSU_Channel | 1
VoltageSense | EXT
VoltageRes | SLOW
setFunction | Current
OperationMode | Independent
Range | Auto
Aperture | 10
AutoZero | ON
InputZ | ON
UpTime | 50
DownTime | 50